Big Island Discussions II 08 03 06

Telescope Structures and Active Primary Mirror Support Systems

I returned to Hilo for discussions with the Gemini and Subaru engineers on March 3rd and 4th.  The purpose of this informal memo is to summarize those discussions.

At Gemini Headquarters, from the left, Chris Carter (Gemini Controls), Daigo Tomono (Subaru Mechanical), Mike Sheehan (Gemini Mechanical), and Russ Genet (Cal Poly Univ.).

Mike Sheehan (Gemini Mechanical Engineering) and I discussed telescope structures.  Mike drew a force versus frequency diagram for wind disturbances on telescopes with the more or less steady forces below 0.2 Hz, and the turbulent forces higher than 0.2 Hz where resonances can create problems for control system stability.  In general, if one makes the telescope stiff enough to avoid resonances in the higher frequency regime, the structure will be more than robust enough for the constant wind forces.  Thus in structural design, one has to be primarily concerned with higher frequency resonances.

We also discussed tip tilting and rotational forces on the soil through the pier for systems not on bedrock.  These movements are not sensed by the telescope’s position encoders, of course, but show up as motions that must be removed by active star-tracking tip/tilt systems.  Soil springiness may be a particularly difficult problem for small portable science/astrophotography telescopes.  We discussed whether or not placing a number of very heavy weights on the bottom, non-moving portion of a portable telescope might improve this situation.  Such weights might actually lower the overall telescope/soil resonant frequency, but make it less likely to be excited.

We then discussed dampening.  The very stiff telescope structures required to avoid low frequency resonances generally end up having very little dampening, i.e. are high “Q.”  Mike demonstrated the vibration of two strips of aluminum.  One vibrated for quite some time.  The other, which had the same amount of aluminum in it, but was in two half thicknesses separated by a thin absorbing material, did not vibrate at all.  The samples were supplied by CSA Engineering in Mt. View, California.  Ty Safreno has mentioned this firm before.  They specialize in solving (and avoiding) vibration issues.

To inject some fun into our discussions, I asked Mike for some design ideas for a 2-meter equivalent telescope with four 1 meter, thin spherical mirrors.  Our alt-az development group occasionally considers various options for extending small telescope apertures beyond 1 meter while still maintaining low costs and light weights.  Such telescopes might be especially useful for time series photometry in the optical and near IR, and for fiber fed optical spectroscopy.

For the telescope we considered, the four spherical mirrors would, individually, be f/6, and in an aggregate f/3.  The mirrors would be coaligned, and cofocused, but would not be cophased, so their resolution could not exceed that of a single mirror (not much of an issue at typical lowland sites).

Dave Rowe has done some very preliminary optical design work that suggests that a 2 or 3 element spherical lens corrector could provide acceptable images (for typical lowland sites) over fields, for instance, for an SBIG ST7 or ST8 camera for a 2-meter equivalent telescope with a spherical primary.  This would be adequate for time series photometry and fiber fed spectroscopy, but not wide field imaging, so would be considered a somewhat specialized telescope.  Dave is also considering a Pressman-Carmichael Cassegrain design with an oblate convex secondary for spherical correction and refractive elements for coma correction.  This would provide a much wider, reasonably well corrected field of view although the secondary would not be low cost.

Mike recommended a pure truss structure, suggesting that even for smaller telescopes such as this 2-meter, a truss structure would be superior to a monocoque plate structure.  Advantage could be taken, Mike suggested, of the space between the four mirrors, assuming they were not jammed right on top of one another.  The trusses could extend beyond the tops of the mirrors to support the overall mirror system.

Instead of a conventional optical telescope top end, Mike suggested a quadrapod, with the four trusses outside the converging light, and an additional fifth truss extending from a spider near the top of the telescope down through the space between the mirrors.  As the top end of the OTA would be very light compared to the back end, the altitude axis would be near the top surface of the primary mirrors.

Mike thought that conventional axels and bearings in altitude might be preferable to large diameter elevation disks on both sides.  He suggested, however, that we might consider using two direct drive motors in altitude, one on each side to avoid twisting the bottom section of the OTA.

In azimuth, we first considered using off-the-shelf slim line bearings, but if one were to avoid fork flexures, it would be good to bring the forces straight down from the altitude bearings to the azimuth rotation surface and hence to a cylindrical pier.  This would require about an 8-foot diameter bearing, probably putting it out of the small telescope price range.

Instead, Mike suggested four wheels or sets of wheels rolling around on a flat plate (track) on the top of a cylindrical pier.  The four wheel sets would be placed at the four corners of a square truss structure.  Diagonals from the corners would meet in the middle at a centering bearing.

Although a line-contact roller would provide the most surface contact area, it would probably need to be slightly conical in shape and the track slightly tapered, both somewhat difficult to implement.  We discussed, alternatively, having one or more “U” shaped wheels at each corner (if more than one they would need to be on independent bearings).

We made some rough weight estimates.  If the 1-meter mirrors were somewhat thin meniscus mirrors, say 25 mm thick, they would weigh about 120 lbs. each, and the four together would weight about 500 lbs.  Mike thought that if the truss structure was made primarily from carbon fiber tubes, that the entire telescope, not including the mirrors, should weigh less than 500 lbs.  This would give a total weight for a 2- meter equivalent telescope of less than 1000 lbs.  It could probably be assembled by two persons without any cranes or hoists.  If 55 mm thick mirrors were used instead of 25 mm thick mirrors, the overall weight might double to 2000 lbs.  The telescope would, roughly, be 8 feet across and 24 feet high.

I met with Chris Carter (Gemini Controls Engineer) on the following day, and over lunch we discussed active support of primary mirrors and, later on, included Mike Sheehan and Daigo Tomono (Subaru Engineering) in the discussion.  The 182 actuators on the Subaru actually hold almost the entire weight of the Subaru’s primary mirror (except where it very lightly rests on three defining hard points).  Thus the Subaru is magnetically levitated.  Each actuator provides considerable force and has an individual feedback loop.  Gemini’s primary mirror, on the other hand, is supported primarily by air pressure, with a seal around the periphery of the mirror and the ability to change the air pressure versus altitude.  Some 120 voice coils and permanent magnets supply the “tweaking” forces required to bring the mirror into its desired shape.

Chirs Carter and Russ Genet in the Gemini electronics lab.  Between them is the voice coil mechanism that adjusts the shape of the Gemini’s 8-meter mirror.  Some 120 similar coils are on the telescope.  This one is a spare.

These voice coil / magnet assemblies were made by BEI Kimco.  Chris’ lab test setup can be seen in the figure above.  At 5 volts and about 1 amp of current, I could not longer force any significant coil movement.  Chris pointed out that we could easily make our own coils.  Dave Rowe has located some low cost speakers that should work well, complete with voice coil, magnet, and centering spider.  We would just toss the speaker cone and frame.

Close up view of the voice BEI Kimco voice coil and magnet.  The magnet is inside of the metal outer sleeve, and cannot be seen.  At 5 volts and 1 amp, I could no longer move the coil in and out.  Very much smaller (and lower cost) coils and magnets could be used for mirrors weighing pounds instead of tons.

Chris recommended, and I think we all concurred, that it would, for smaller telescopes, be worthwhile to consider floating the mirror on conventional whiffletree supports and just tweaking the mirrors with the voice coil actuators at locations between the whiffletree points.  The goal here would be to just correct the lower order Zernike terms, so this scheme would work best on mirrors of medium flexibility, and would only require a dozen or so actuators.

Chris has considered how we might implement the control system for a dozen or so voice coil actuators.  He suggested we consider using the SPI buss, which can be easily driven from the parallel port of a PC.  Maxim Max 5352 12-bit D/A converters are about $12 each from DigiKey.  The audio/operational amplifiers required are about the same price.  If one wound one’s own coils, the cost in electronics, magnets, and wires would be around $50 per channel.  Perhaps a unit with a dozen or two channels, power supply, etc., could be built for around $2000.

All four of us discussed, at some length, whether or not implementation of an active primary mirror would require some sort of on-line wavefront sensor, such as a Shack-Hartmann sensor.  Although Gemini does utilize an on-line wavefront sensor for primary mirror adjustments, Subaru does not.   Subaru calibrates their system offline with a wavefront sensor on bright stars with 30 second integrations to average out atmospheric effects.  (Bright to them is 14th magnitude—brighter than that they overflow their camera in 30 seconds.)  However, they only need to do this at infrequent intervals, every six to eighteen months.  When they make a calibration run, they find the sensor positions that give the best mirror figure for every 15 degrees in altitude.  During normal operation, a lookup table and interpolation provides the settings for the actuators.

We discussed whether or not for a telescope with just a dozen or two actuators fine tuning a mirror supported by a whiffletree, one would even need a wavefront sensor for calibration runs, let alone regular operation.  Our conclusion was that a wavefront sensor would probably not be required.  Given some time for experimentation, a computer algorithm could be developed to automatically search for the best settings at each of several altitudes, observing a bright star at each altitude and making adjustments to minimize the image size.  These settings could then be stored in a lookup table and interpolated for any specific altitude.  This is not to suggest that one might not want to employ a wavefront sensor, only to suggest that it might not be necessary.

My thanks to Mike, Chris, and Daigo for taking the time to consider how the technology used on large alt-az telescopes might be applied to smaller aperture telescopes.